## Solar Plant Analyzer
Enter Airport Name
Select Country/Region: (drop down) | select from list
Enter IATA Code:
Enter Your Name:
Enter Study Name:
Enter year to consider (>2020): | 2022 | i
1. Define Your Solar Plant (off-grid system)
Enter Available Surface (roof, area) |  | m2 |  |  | Converter: enter acres to get m2: |  | acres = m2 | 0
Select Location Class (drop down) | 1 - Good | [6 empty] | i
Enter Specific Capacity |  | kWp/m2; or leave blank for default: |  |  | 0.17 | kWp/m2
Resulting Plant Capacity | 0 | kWp | [5 empty] | i
2. Estimate Your Solar Power Production
Select next best city information | select from list | [6 empty] | i
Registered annual sun hours | #N/A | h/a | [5 empty] | i
Enter correction factor | -5% | for more (+) or less (-) sun hours at your very specific location.
Your resulting power production: | #N/A | MWh/a, or | #N/A | MWh/d (on average) |  |  |  | i
3. Feasibility
Currency and conversion rate to EUR |  |  | per EUR |  |  |  |  | i
3.1 Solar PV Plant |  |  |  | 3.2 Conventional Grid Electricity
Specific Investment costs |  | /kWp |  | Costs over life cycle (25 years), broken into 4 periods: |  |  |  | i
or leave blank to use the default: | #N/A | /kWp
Net Investment Costs | #N/A | /kWp |  | Electricity costs 1st period of life cycle |  |  |  | /kWh
Markup for Building Enhancement | 10% | % i |  | Electricity costs 2nd period of life cycle |  |  |  | /kWh
Markup for Electrical Enhancement | 2% | % |  | Electricity costs 3rd period of life cycle |  |  |  | /kWh
Planning, Permits (glare study) | 2% | % |  | Electricity costs 4th period of life cycle |  |  |  | /kWh
Total Upfront Investments | #N/A | /kWp |  | Total Electricity Costs |  |  | #N/A | 0
Considered Life Cycle | 25 | years
Financial costs | 3.5% | % i
Resulting Financial Costs | #N/A | /kWp
Specific Maintenance Costs |  | /kWp*a |  | Specific Maintenance Costs |  |  |  | /kWh
or leave blank to use the default: | #N/A | /kWp*a |  | or leave blank to use the default: |  |  | 0 | /kWh
Total Maintenance Costs | #N/A | /kWp*a |  | Total Maintenance Costs |  |  | #N/A | 0
Resulting TCO | #N/A | 0 |  | Resulting TCO |  |  | #N/A | 0
3.3 CO2-Savings
Your country electricity grid EF | #N/A | g CO2/kWh
Enter location- or market-based EF |  | g CO2/kWh
(if applicable and known, else leave blank)
Resulting annual CO2-savings | #N/A | t CO2e/a
4. Summary
Does your PV plant seem feasible? | #N/A | [6 empty] | Approx. Monthly Electricity Production at
What is your TCO (over 25 years)? | #N/A | 0
What is your annual CO2 savings? | #N/A | t CO2e/a
What's you annual money savings? | #N/A | /a
powered by: Zurich Airport / E. Fleuti. Build: 20.49
Sources:
https://www.ise.fraunhofer.de/content/dam/ise/de/documents/publications/studies/AgoraEnergiewende_Current_and_Future_Cost_of_PV_Feb2015_web.pdf
https://ec.europa.eu/jrc/en/publication/eur-scientific-and-technical-research-reports/pv-status-report-2019
https://en.wikipedia.org/wiki/List_of_cities_by_sunshine_duration#Asia
About:
This tool may give you a first indication on the feasibility of a photovoltaic plant at your airport. It does not consider electricity storage. Minimum information is required; as such, the results are only an estimate and cannot substitue a specific site analysis and modelling prior to relevant business decisions.
Basis for the study are the available surface, some location specific information and electricity costs.
Airport Solar PV Analyzer - ASPA
Note on E14: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Indicate year for assessment: CAPEX cost decrease in PV technology is considered.
Note on K21: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Indicate, how well the surface situation is for sun orientation, shadows, etc: 1 Good: unobstructed, direct sun orientation, no shadows. 2 Moderate: limitations due to orientation, shadosw from (other) buildings, etc 3 Difficult: multiple limitations, likely less suited.
Note on K25: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: If you want to know the surface requirement for a specific plant capacity, iterate the available surface cell until it best matches the plant capacity.
Note on K29: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Select the next best suited city from the drop down list to obtain the average sun hours. The information therein is also used to generate the monthly production graph.
Note on K31: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Data Source: https://en.wikipedia.org/List_of_cities_by_sunshine_duration
Note on K35: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: If you already have a production information, iterate surface, capacity and correction factor cells until the result best matches your production information.
Note on K39: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Enter the 3-letter code of your local currency (e.g. USD, HKD, GBP) and conversion against EUR (see www).
Note on K43: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Electricity costs: consider costs for electricity, grid usage, taxes and other dues together. You can select different prices per period (each 1/4 over lifetime), reflecting variable prices in the future.
Note on E46: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: PV panels weigh 15-20 kg each which the building structure (roof) has to sustain. If unsure, 10% may be an average to put in.
Note on E51: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Indicate the costs for the financial investment. Sometimes indicated through the WACC, IRR or ROI.

## Datatables (hidden)
ASPA Datatables and Assumptions
Cell color code: | Used for calculations
Location Class |  |  | Source:
1 - Good | 95% |  | Derived from Zurich Airport, Potenzialstudie PV, 2016 (Basler&Hofmann)
2 - Moderate | 85%
3 - Difficult | 75%
Technical Assumptions | Currently nor used |  | http://www.sustainabilityoutlook.in/content/5-things-consider-you-plan-rooftop-pv-plant
Usable Rooftop-area | 70%
Specific Plant Capacity | 0.1 | kWp/m2 |  | This approach would give: |  | 0 | MWh/a
Capacity Utility Factor (CUF) | 20%
Rule of thumb power Production | 1600 | kWh/kWp (in India) |  | Ths approach would give: |  | 0 | MWh/a
|  |  |  | Cost are approximately: |  | 843000 | USD
Specific Plant Capacity
Default (from ZRH) | 0.17 | kWp/m2 | https://www.swissolar.ch/fuer-bauherren/planungshilfsmittel/solardachrechner/
Used Plant Capacity | 0.17 | kWp/m2 | Confirmed: | https://www.ise.fraunhofer.de/content/dam/ise/de/documents/publications/studies/AgoraEnergiewende_Current_and_Future_Cost_of_PV_Feb2015_web.pdf
Plant Costs (Reference value)
Default Germany, 2025 | 750 | EUR/kWp | https://www.ise.fraunhofer.de/content/dam/ise/de/documents/publications/studies/AgoraEnergiewende_Current_and_Future_Cost_of_PV_Feb2015_web.pdf
PV Plant Cost per ACI Region | CAPEX study year | CAPEX 2020 | OPEX (p.a.) |  | Source:
1 | 2 | 3 | 4
Africa | 675 | 750 | 9 | EUR/kWp
Asia Pacific | 675 | 750 | 9 | EUR/kWp | Ramboll, Noida
Europe | 675 | 750 | 9 | EUR/kWp | https://www.ise.fraunhofer.de/content/dam/ise/de/documents/publications/studies/AgoraEnergiewende_Current_and_Future_Cost_of_PV_Feb2015_web.pdf
Lat Am/Caribbean | 675 | 750 | 9 | EUR/kWp
North America | 675 | 750 | 9 | EUR/kWp
Global Average |  |  |  | EUR/kWp
Annual decrease in CAPEX-need | 5% |  |  |  | https://ec.europa.eu/jrc/en/publication/eur-scientific-and-technical-research-reports/pv-status-report-2019
Maintenance Costs
Conventional electrical grid | 0.0025 | EUR/kWh
Tolerance for suitability result | 10% | %
Sunlight for Radiation Calculation |  |  |  | Source:
1 sun hour = on average 0.5 peak sun hour; 1 peak sun hour = approx 1,000 W/m2 |  |  |  | https://en.wikipedia.org/wiki/Solar_irradiance#Solar_power
Data for Graph Generation
City | select from list | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Sun Hours | h/month | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Electricity Calculation | MWh/month | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Country | Grid EF | Jan: Unit; Feb: ACI Region; Apr: Ref Year; May: Source; Jun: PV Invest (EUR/kWp); Jul: PV Maint. (EUR/kWP); Aug: PV Invest (€/kWp), JRC
1 | 2 | Jan: 3; Feb: 4; Mar: 5; Apr: 6; May: 7; Jun: 8; Jul: 9
select from list
Albania | 9.1301 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Algeria | 664.2093 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Angola | 37.9501 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Antigua & Barbuda | 694.3 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2010; May: UNEP, 2015; Jun: 675; Jul: 9
Argentina | 391.9328 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Armenia | 128.177 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Australia | 800 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2016; May: Source 6; Jun: 675; Jul: 9
Australia, New South Wales and Australian Capital Territory | 830 | g CO2/kWh | 2 | Asia Pacific | 2016 | Source 6 | 675 | 9 | 650
Australia, Victoria | 1070 | g CO2/kWh | 2 | Asia Pacific | 2016 | Source 6 | 675 | 9 | 650
Australia, Queensland | 790 | g CO2/kWh | 2 | Asia Pacific | 2016 | Source 6 | 675 | 9 | 650
Australia, South Australia | 530 | g CO2/kWh | 2 | Asia Pacific | 2016 | Source 6 | 675 | 9 | 650
Australia, South West Interconnected System (SWIS) in Western Australia | 700 | g CO2/kWh | 2 | Asia Pacific | 2016 | Source 6 | 675 | 9 | 650
Australia, North Western Interconnected System (NWIS) in Western Australia | 660 | g CO2/kWh | 2 | Asia Pacific | 2008 | Source 5 | 675 | 9 | 650
Australia, Darwin Katherine Interconnected System (DKIS) in the Northern Territory | 570 | g CO2/kWh | 2 | Asia Pacific | 2008 | Source 5 | 675 | 9 | 650
Australia, Tasmania | 150 | g CO2/kWh | 2 | Asia Pacific | 2016 | Source 6 | 675 | 9 | 650
Australia, Northern Territory | 650 | g CO2/kWh | 2 | Asia Pacific | 2016 | Source 6 | 675 | 9 | 650
Austria | 189.12 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Azerbaijan | 391.831 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Bahrain | 726.8341 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Bangladesh | 637.1432 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Barbados | 790.6 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2010; May: UNEP, 2015; Jun: 675; Jul: 9
Belarus | 610.8737 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Belgium | 117.78 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Belize | 303.8 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: UNEP, RISOE Centre, 2013; Jun: 675; Jul: 9
Benin | 700.6787 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Bolivia | 534.9969 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Bosnia-Herzegovina | 309.62 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Botswana | 1825.6751 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Brazil | 92.6436 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Brunei Darussalam | 819.4988 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Bulgaria | 509.23 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Cambodia | 1170.8397 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Cameroon | 216.5685 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Canada | 179.7633 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Canada, AB | 930 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, BC | 20 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, MB | 10 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, NB | 366 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, NL | 15 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, NS | 549 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, NT | 249 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, NU | 249 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, ON | 180 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, PEI | 192 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, QC | 6 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, SK | 810 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Canada, YK | 249 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2013; May: Source 3; Jun: 675; Jul: 9
Chile | 408.6143 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
People's Republic of China | 974.6249 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Chinese Taipei | 578.2619 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Colombia | 111.4252 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Congo | 120.11 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Dem Republic of Congo | 4.1586 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Costa Rica | 63.7564 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Côte d'Ivoire | 501.1793 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Croatia | 386.4584 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Cuba | 938.0862 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Cyprus | 869.89 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Czech Republic | 547.35 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Denmark | 634.98 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Dominican Republic | 641.7417 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Ecuador | 269.6138 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Egypt | 500.8861 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
El Salvador | 256.0728 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Eritrea | 677.9916 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Estonia | 1142.24 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Ethiopia | 118.9485 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Finland | 417.44 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
France | 63.63 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Gabon | 425.1889 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Georgia | 89.4569 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Germany | 784.56 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Ghana | 214.7675 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Gibraltar | 772.3214 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Greece | 895.29 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Grenada | 802.7 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2010; May: UNEP, 2015; Jun: 675; Jul: 9
Guatemala | 341.5349 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Haiti | 483.3253 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Honduras | 415.4874 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Hong Kong, China | 786.6806 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Hungary | 374.62 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Iceland | 0.19348 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
India | 1333.1748 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Indonesia | 684.694 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Islamic Republic of Iran | 631.1139 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Iraq | 820.6146 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Ireland | 467.5 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2015; May: www.seai.ie; Jun: 675; Jul: 9
Israel | 740.3035 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Italy | 511.17 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Jamaica | 796.1062 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Japan | 443.3568 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Jordan | 643.9244 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Kazakhstan | 923.1814 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Kenya | 332.2978 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Dem People's Rep of Korea | 494.6589 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Korea | 504.3777 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Kuwait | 637.3169 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Kyrgyzstan | 91.4043 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Latvia | 202.43 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Lebanon | 694.7557 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Libya | 919.629 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Lithuania | 495.59 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Luxembourg | 442.5 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
FYR of Macedonia | 1940.6436 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Malaysia | 748.8424 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Malta | 920 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Mexico | 452.4833 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Republic of Moldova | 637.1949 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Mongolia | 2310.8687 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Morocco | 731.2115 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Mozambique | 0.44503 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Myanmar | 315.6652 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Namibia | 489.8038 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Nepal | 3.0418 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Netherlands | 475.55 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Netherlands Antilles | 717.5391 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
New Zealand | 138 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2015; May: NZ MfE, Info 734; Jun: 675; Jul: 9
Nicaragua | 472.1193 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Nigeria | 439.6314 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Norway | 502.63 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Oman | 936.492 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Pakistan | 473.3785 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Panama | 276.7979 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Paraguay | 209.6934 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Peru | 237.7212 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Philippines | 526.7338 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Poland | 881.25 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Portugal | 358.41 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Qatar | 596.3454 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Romania | 424.63 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Russia | 513.1804 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Saudi Arabia | 795.5914 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Senegal | 598.2594 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Serbia and Montenegro | 1548.5678 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Singapore | 579.046 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Slovak Republic | 174.89 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Slovenia | 215.94 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
South Africa | 1069.0266 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Spain | 278.19 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Sri Lanka | 417.2476 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
St. Kitts & Nevis | 619.3 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2010; May: UNEP, 2015; Jun: 675; Jul: 9
St. Lucia | 652.6 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2010; May: UNEP, 2015; Jun: 675; Jul: 9
St. Vincent & Grenadines | 553.7 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2010; May: UNEP, 2015; Jun: 675; Jul: 9
Sudan | 614.9061 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Surinam | 489.5 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2010; May: UNEP, 2015; Jun: 675; Jul: 9
Sweden | 228.74 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
Switzerland | 35.71 | g CO2/kWh | 3 | Europe | 2013 | Source 1 | 675 | 9 | 1000
Syria | 639.1097 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Tajikistan | 23.2452 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
United Republic of Tanzania | 266.757 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Thailand | 626.7426 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Togo | 207.239 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Trinidad and Tobago | 766.6775 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Tunisia | 572.1694 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Turkey | 865.6645 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Turkmenistan | 644.6726 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Ukraine | 563.1329 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
United Arab Emirates | 938.2975 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
United Kingdom | 469.05 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2013; May: Source 1; Jun: 675; Jul: 9
United States | 558.9841 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, AKGD (ASCC Alaska Grid) | 570.1213 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, AKMS (ASCC Miscellaneous) | 203.4779 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, AZNM (WECC Southwest) | 534.1703 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, CAMX (WECC California) | 277.0787 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, ERCT (ERCOT All) | 552.5662 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, FRCC (FRCC All) | 542.842 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, HIMS (HICC Miscellaneous) | 603.3898 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, HIOA (HICC Oahu) | 735.7179 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, MROE (MRO East) | 730.6695 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, MROW (MRO West) | 696.9055 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, NEWE (NPCC New England) | 327.5636 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, NWPP (WECC Northwest) | 382.2008 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, NYCW (NPCC NYC/Westchester) | 282.3368 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, NYLI (NPCC Long Island) | 606.0904 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, NYUP (NPCC Upstate NY) | 247.5767 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, RFCE (RFC East) | 454.3914 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, RFCM (RFC Michigan) | 739.0997 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, RFCW (RFC West) | 681.9814 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, RMPA (WECC Rockies) | 860.3696 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, SPNO (SPP North) | 816.2385 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, SPSO (SPP South) | 716.9675 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, SRMV (SERC Mississippi Valley) | 467.1324 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, SRMW (SERC Midwest) | 821.4007 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, SRSO (SERC South) | 614.2242 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, SRTV (SERC Tennessee Valley) | 630.1482 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
USA, SRVC (SERC Virginia/Carolina) | 487.0169 | Jan: g CO2/kWh; Feb: 5; Mar: North America; Apr: 2014; May: Source 4; Jun: 675; Jul: 9
Uruguay | 303.714 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Uzbekistan | 567.4328 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Venezuela | 208.0697 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Vietnam | 466.848 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Yemen | 623.5375 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Zambia | 644.1061 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Zimbabwe | 3.1973 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Other Africa | 735.7663 | Jan: g CO2/kWh; Feb: 1; Mar: Africa; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Other Latin America | 209.6934 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Other Caribbean | 209.6934 | Jan: g CO2/kWh; Feb: 4; Mar: Lat Am/Caribbean; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Other Asia | 928.2906 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Other Pacific | 529.4815 | Jan: g CO2/kWh; Feb: 2; Mar: Asia Pacific; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Other Europe | 822.4971 | Jan: g CO2/kWh; Feb: 3; Mar: Europe; Apr: 2011; May: Source 2; Jun: 675; Jul: 9
Source 1: European Residual Mix 2013 (RE-DISS II, www.reliable-disclosure.org)
Source 2: Ecometrica (2011). Electricity-specific emission factors for grid electricity
Source 3: http://www.livclean.ca/PE_offset_calculation.pdf |  | Feb: Weblist as last accessed on:; Apr: 2017-02-08
Source 4: EPA Year 2010 eGRID, 9th version 1.0, February 2014
Source 5: Natl Greenhouse and Energy Report Determination 2008 and Dep of Environment (Australia)
Source 6:https://www.environment.gov.au/climate-change/climate-science-data/greenhouse-gas-measurement/publications/national-greenhouse-accounts-factors-july-2018
UNEP: | UNEP DTU Partnership, 2015: Analysis of Grid Emission Factors for the Electricity Sector in Caribbean Countries
Note on G66: Definition of value: European Residual Mix, 2013
Note on D173: Value: "other Latin America"

## Cities (hidden)
Annual Sunshine Duration at selected Cities
City | Country | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Year | Ref.
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
select from list
Aarhus | Denmark | 41 | 68 | 112 | 164 | 208 | 212 | 194 | 190 | 130 | 86 | 59 | 43 | 1506 | [112]
Abéché | Chad | 316.2 | 291.2 | 300.7 | 300 | 313.1 | 300 | 254.2 | 226.3 | 261 | 306.9 | 312 | 319.3 | 3500.9 | [22]
Abha | Saudi Arabia | 266.6 | 265.6 | 294.5 | 282 | 288.3 | 276 | 232.5 | 238.7 | 273 | 291.4 | 273 | 266.6 | 3248.2 | [96]
Abidjan | Ivory Coast | 223 | 223 | 239 | 214 | 205 | 128 | 137 | 125 | 139 | 215 | 224 | 224 | 2296 | [2]
Accra | Ghana | 217 | 226 | 217 | 210 | 217 | 150 | 155 | 155 | 180 | 217 | 240 | 248 | 2432 | [7]
Addis Abeba | Ethiopia | 269.7 | 246.5 | 248 | 213 | 217 | 156 | 68.2 | 83.7 | 138 | 266.6 | 267 | 266.6 | 2440.3 | [36]
Adelaide | Australia | 325.5 | 285.3 | 266.6 | 219 | 167.4 | 138 | 148.8 | 186 | 204 | 257.3 | 273 | 294.5 | 2765.4 | ?
Albuquerque | United States | 234.2 | 225.3 | 270.2 | 304.6 | 347.4 | 359.3 | 335 | 314.2 | 286.7 | 281.4 | 233.8 | 223.3 | 3415.4 | ?
Alexandria | Egypt | 217 | 226.2 | 279 | 318 | 337.9 | 357 | 372 | 368.9 | 333 | 306.9 | 246 | 207.7 | 3579.5 | [36]
Algiers | Algeria | 149 | 165 | 202 | 258 | 319 | 318 | 350 | 319 | 237 | 229 | 165 | 136 | 2847 | [29]
Alice Springs | Australia | 306 | 276.8 | 300.7 | 285 | 263.5 | 252 | 282.1 | 306.9 | 300 | 313.1 | 303 | 310 | 3499.1 | ?
Almaty | Kazakhstan | 118 | 119 | 147 | 194 | 241 | 280 | 306 | 294 | 245 | 184 | 127 | 101 | 2356 | [86]
Amsterdam | Netherlands | 63 | 88 | 126 | 183 | 222 | 206 | 217 | 197 | 139 | 109 | 62 | 51 | 1662 | [130]
Anchorage | United States | 82.9 | 120.5 | 195.8 | 235.3 | 288.7 | 274.7 | 250.1 | 203.9 | 159.8 | 117.1 | 80.6 | 51.8 | 2061.2 | ?
Ankara | Turkey | 77.5 | 98.9 | 161.2 | 189 | 260.4 | 306 | 350.3 | 328.6 | 276 | 198.4 | 132 | 71.3 | 2449.6 | ?
Antananarivo | Madagascar | 210.5 | 178 | 199.1 | 220.5 | 228.8 | 206.1 | 213.9 | 235 | 249.5 | 251 | 232.7 | 201.1 | 2626.2 | [63]
Antofagasta | Chile | 319.3 | 291 | 294.5 | 252 | 229.4 | 207 | 204.6 | 213.9 | 219 | 260.4 | 276 | 310 | 3077.1 | ?
Antsiranana | Madagascar | 189.2 | 170 | 214.9 | 256.4 | 284.8 | 256.5 | 273.1 | 283.6 | 293.3 | 306.8 | 281.5 | 228.9 | 3039 | [64]
Arequipa | Peru | 223.2 | 189.3 | 244.9 | 294 | 288.3 | 291 | 291.4 | 310 | 297 | 303.8 | 309 | 291.4 | 3333.3 | ?
Asmara | Eritrea | 304.7 | 289.1 | 300.7 | 300.5 | 298.5 | 271.5 | 217.9 | 220.1 | 260.4 | 301 | 292.5 | 299.1 | 3361 | [17]
Astana | Kazakhstan | 103 | 147 | 192 | 238 | 301 | 336 | 336 | 294 | 230 | 136 | 100 | 94 | 2507 | [87]
Asunción | Paraguay | 276 | 246 | 254 | 228 | 205 | 165 | 195 | 223 | 204 | 242 | 270 | 295 | 2803 | ?
Athens | Greece | 130 | 134 | 183 | 231 | 291 | 336 | 363 | 341 | 276 | 208 | 153 | 127 | 2773 | [120]
Atlanta | United States | 164 | 171.7 | 220.5 | 261.2 | 288.6 | 284.8 | 273.8 | 258.6 | 227.5 | 238.5 | 185.1 | 164 | 2738.3 | ?
Auckland | New Zealand | 228.8 | 194.9 | 189.2 | 157.3 | 139.8 | 110.3 | 128.1 | 142.9 | 148.6 | 178.1 | 188.1 | 197.2 | 2003.1 | ?
Austin | United States | 163.8 | 169.3 | 205.9 | 205.8 | 227.1 | 285.5 | 317.2 | 297.9 | 233.8 | 215.6 | 168.3 | 153.5 | 2643.7 | ?
Baghdad | Iraq | 192.2 | 203.3 | 244.9 | 255 | 300.7 | 348 | 347.2 | 353.4 | 315 | 272.8 | 213 | 195.3 | 3240.8 | ?
Baku | Azerbaijan | 89.9 | 89 | 124 | 195 | 257.3 | 294 | 313.1 | 282.1 | 222 | 145.7 | 93 | 102.3 | 2207.4 | ?
Baltimore | United States | 155.4 | 164 | 215 | 230.7 | 254.5 | 277.3 | 290.1 | 264.4 | 221.8 | 205.5 | 158.5 | 144.5 | 2581.7 | ?
Bamako | Mali | 277.4 | 253 | 268.1 | 230.4 | 242.6 | 233.6 | 216.6 | 218.3 | 221.7 | 253.7 | 270.7 | 268.9 | 2954.1 | [28]
Bangalore | India | 262 | 248 | 271 | 257 | 241 | 137 | 112 | 114 | 144 | 173 | 190 | 212 | 2361 | [82]
Bangkok | Thailand | 272.5 | 249.9 | 269 | 256.7 | 216.4 | 178 | 171.8 | 160.3 | 154.9 | 198.1 | 234.2 | 262 | 2623.8 | [100]
Bangui | Central African Republic | 217 | 196 | 186 | 180 | 186 | 180 | 124 | 124 | 150 | 155 | 180 | 217 | 2095 | [67]
Banjul | Gambia | 279 | 282 | 310 | 300 | 310 | 270 | 186 | 186 | 180 | 248 | 240 | 279 | 3070 | [23]
Barcelona | Spain | 158 | 171 | 206 | 239 | 258 | 287 | 293 | 264 | 229 | 196 | 153 | 137 | 2591 | [143]
Barranquilla | Colombia | 283 | 245 | 241 | 211 | 187 | 194 | 217 | 208 | 166 | 167 | 191 | 252 | 2561 | ?
Bata | Equatorial Guinea | 201.5 | 192.1 | 173.6 | 177 | 189.1 | 147 | 142.6 | 142.6 | 114 | 114.7 | 141 | 186 | 1921.2 | [73]
Beijing | China | 194.1 | 194.7 | 231.8 | 251.9 | 283.4 | 261.4 | 212.4 | 220.9 | 232.1 | 222.1 | 185.3 | 180.7 | 2670.8 | ?
Belgrade | Serbia | 72 | 102 | 153 | 188 | 242 | 261 | 291 | 274 | 204 | 163 | 97 | 65 | 2112 | [141]
Benghazi | Libya | 179.8 | 192 | 232.5 | 252 | 319.3 | 327 | 381.3 | 365.8 | 288 | 251.1 | 213 | 167.4 | 3169.2 | [38]
Bergen | Norway | 19 | 56 | 94 | 147 | 186 | 189 | 167 | 144 | 86 | 60 | 27 | 12 | 1187 | [131]
Berlin | Germany | 47 | 74 | 121 | 159 | 220 | 222 | 217 | 211 | 156 | 112 | 51 | 37 | 1626 | [119]
Birao | Central African Republic | 289.6 | 275 | 270.6 | 248.1 | 255.7 | 216.9 | 190.7 | 186.5 | 210 | 267.2 | 290.3 | 297.4 | 2998 | [68]
Bissau | Guinea-Bissau | 248 | 226 | 279 | 270 | 248 | 210 | 186 | 155 | 180 | 217 | 240 | 248 | 2707 | [72]
Blantyre | Malawi | 198.4 | 182 | 217 | 237 | 260.4 | 237 | 232.3 | 260.4 | 270 | 275.9 | 228 | 198.4 | 2797 | [59]
Bloemfontein | South Africa | 296.3 | 247.9 | 258.6 | 250.2 | 266 | 249.9 | 272.6 | 285.9 | 278 | 290.9 | 296.5 | 319.5 | 3312.3 | [49]
Bogotá | Colombia | 156 | 128 | 107 | 88 | 83 | 94 | 114 | 117 | 109 | 96 | 103 | 138 | 1328 | ?
Boise | United States | 109.3 | 151.9 | 238.6 | 281.4 | 335.5 | 351.6 | 399.8 | 358.8 | 303.6 | 238.1 | 119.6 | 105.2 | 2993.4 | ?
Boston | United States | 163.4 | 168.4 | 213.7 | 227.2 | 267.3 | 286.5 | 300.9 | 277.3 | 237.1 | 206.3 | 143.2 | 142.3 | 2633.6 | ?
Bouaké | Ivory Coast | 242 | 224 | 219 | 194 | 208 | 145 | 104 | 82 | 115 | 170 | 191 | 198 | 2092 | [2]
Brasília | Brazil | 154.4 | 157.5 | 180.9 | 201.1 | 234.3 | 253.4 | 266.5 | 262.9 | 203.2 | 168.2 | 142.5 | 138.1 | 2363.3 | ?
Bratislava | Slovakia | 65 | 82 | 152 | 204 | 264 | 270 | 276 | 270 | 207 | 143 | 60 | 47 | 2038
Brazaville | Congo | 168 | 152 | 194 | 185 | 188 | 153 | 127 | 149 | 145 | 150 | 157 | 147 | 1915 | [2]
Brisbane | Australia | 263.5 | 223.2 | 232.5 | 234 | 235.6 | 198 | 238.7 | 266.6 | 270 | 275.9 | 270 | 265.4 | 2968.4 | ?
Brussels | Belgium | 59 | 77 | 114 | 159 | 191 | 188 | 201 | 190 | 143 | 113 | 66 | 45 | 1546 | [106]
Bucharest | Romania | 71 | 85 | 140 | 186 | 245 | 267 | 288 | 282 | 225 | 177 | 87 | 62 | 2115 | [138]
Budapest | Hungary | 62 | 93 | 137 | 177 | 234 | 250 | 271 | 255 | 187 | 141 | 69 | 52 | 1988 | [121]
Buenos Aires | Argentina | 279 | 240.8 | 229 | 220 | 173.6 | 132 | 142.6 | 173.6 | 189 | 227 | 252 | 266.6 | 2525.2 | ?
Bujumbura | Burundi | 167.4 | 158.2 | 176.7 | 165 | 210.8 | 255 | 272.8 | 251.1 | 213 | 189.1 | 150 | 164.3 | 2373.4 | [69]
Bulawayo | Zimbabwe | 244.9 | 212.8 | 251.1 | 252 | 279 | 267 | 288.3 | 300.7 | 288 | 272.8 | 237 | 226.3 | 3119.9 | [57]
Buloburde | Somalia | 290 | 283 | 293 | 249 | 287 | 261 | 216 | 238 | 262 | 230 | 246 | 268 | 3124 | [24]
Busan | South Korea | 199 | 182.5 | 193 | 210 | 221.7 | 179.7 | 165.8 | 200.9 | 167.2 | 208.9 | 194.4 | 204.3 | 2327.3 | [98]
Cádiz | Spain | 184 | 197 | 228 | 255 | 307 | 331 | 354 | 335 | 252 | 228 | 187 | 166 | 3024 | [144]
Cagliari | Italy | 150 | 163 | 209 | 218 | 270 | 311 | 342 | 321 | 243 | 209 | 150 | 127 | 2726 | [124]
Cairo | Egypt | 229.4 | 234.9 | 279 | 306 | 331.7 | 363 | 372 | 356.5 | 318 | 294.5 | 246 | 210.8 | 3541.8 | [36]
Calama | Chile | 353.4 | 305.1 | 319.3 | 312 | 306.9 | 297 | 310 | 316.2 | 321 | 356.5 | 363 | 365.8 | 3926.2 | [175]
Calgary | Canada | 119.5 | 144.6 | 177.2 | 220.2 | 249.4 | 269.9 | 314.1 | 284 | 207 | 175.4 | 121.1 | 114 | 2396.3 | [154]
Cali | Colombia | 183 | 155.8 | 166.5 | 139 | 147.1 | 153.1 | 189.9 | 175.1 | 157.4 | 151.1 | 153.8 | 170.1 | 1941.9 | [176]
Canberra | Australia | 294.5 | 254.3 | 251.1 | 219 | 186 | 156 | 179.8 | 217 | 231 | 266.6 | 267 | 291.4 | 2813.7 | ?
Cape Town | South Africa | 337.9 | 297.4 | 292.9 | 233.5 | 205.3 | 175.4 | 193.1 | 212.1 | 224.7 | 277.7 | 309.8 | 334.2 | 3094 | [47]
Caracas | Venezuela | 229.4 | 217.5 | 235.6 | 183 | 182.9 | 183 | 210.8 | 217 | 213 | 210.8 | 210 | 213.9 | 2506.9 | ?
Cayenne | French Guiana | 94.3 | 89.9 | 119 | 118.1 | 118.8 | 148.6 | 196.5 | 229.8 | 255.2 | 251.1 | 217.3 | 137.5 | 1976 | ?
Charlotte | United States | 173.3 | 180.3 | 234.8 | 269.6 | 292.1 | 289.2 | 290 | 272.9 | 241.4 | 230.5 | 178.4 | 168.5 | 2821 | ?
Chiang Mai | Thailand | 272.8 | 257.1 | 294.5 | 279 | 198.4 | 156 | 120.9 | 117.8 | 144 | 201.5 | 216 | 254.2 | 2512.2 | [101]
Chicago | United States | 135.8 | 136.2 | 187 | 215.3 | 281.9 | 311.4 | 318.4 | 283 | 226.6 | 193.2 | 113.3 | 106.3 | 2508.4 | ?
Chișinău | Moldova | 75 | 80 | 125 | 187 | 254 | 283 | 299 | 295 | 226 | 169 | 75 | 58 | 2126
Chongqing | China | 48 | 56 | 81 | 111 | 139 | 128 | 221 | 222 | 123 | 63 | 47 | 54 | 1293 | ?
Christchurch | New Zealand | 224.4 | 190.5 | 177.4 | 155.6 | 133.3 | 117.7 | 124.8 | 149 | 166.6 | 201.3 | 215.3 | 214.3 | 2070.2 | ?
Churchill | Canada | 79.7 | 117.7 | 177.8 | 198.2 | 197 | 243 | 281.7 | 225.9 | 112 | 58.1 | 55.3 | 53.1 | 1799.5 | [155]
Cleveland | United States | 101 | 122.3 | 167 | 216 | 263.6 | 294.6 | 307.2 | 262.2 | 219 | 169.5 | 89.8 | 67.8 | 2280 | ?
Columbus | United States | 110.6 | 126.3 | 162 | 201.8 | 243.4 | 258.1 | 260.9 | 235.9 | 212 | 183.1 | 104.2 | 84.3 | 2182.6 | ?
Conakry | Guinea | 223 | 224 | 251 | 222 | 208 | 153 | 109 | 87 | 135 | 189 | 207 | 214 | 2222 | [70]
Concepción | Chile | 341 | 278 | 255 | 191 | 133 | 114 | 129 | 162 | 197 | 254 | 296 | 331 | 2681 | ?
Copenhagen | Denmark | 51 | 68 | 120 | 181 | 230 | 213 | 228 | 199 | 142 | 101 | 55 | 41 | 1630 | [113]
Córdoba | Argentina | 257.3 | 229.6 | 204.6 | 189 | 170.5 | 150 | 170.5 | 204.6 | 213 | 238.7 | 255 | 251.1 | 2533.9 | [173]
Cotonou | Benin | 213.9 | 210 | 223.2 | 219 | 213.9 | 141 | 136.4 | 148.8 | 165 | 207.7 | 243 | 223.2 | 2345.2 | [4]
Curitiba | Brazil | 184.4 | 160.8 | 172 | 164.2 | 178.3 | 160.2 | 173.4 | 175.4 | 134.1 | 155.5 | 177 | 170.9 | 2006.2 | ?
Da Lat | Vietnam | 255 | 234 | 255 | 202 | 190 | 147 | 157 | 136 | 133 | 140 | 172 | 215 | 2238 | [103]
Da Nang | Vietnam | 139 | 145 | 188 | 209 | 246 | 239 | 253 | 218 | 176 | 145 | 120 | 103 | 2182 | [103]
Dakar | Senegal | 253 | 249 | 303 | 301 | 299 | 259 | 233 | 204 | 219 | 254 | 256 | 249 | 3078 | [2]
Dakhla Oasis | Egypt | 294.5 | 279.7 | 316.2 | 315 | 356.5 | 366 | 384.4 | 375.1 | 336 | 328.6 | 300 | 291.4 | 3943.4 | ?
Dallas | United States | 183.5 | 178.3 | 227.7 | 236 | 258.4 | 297.8 | 332.4 | 304.5 | 246.2 | 228.1 | 183.8 | 173 | 2849.7 | ?
Dar-es-Salaam | Tanzania | 251 | 241 | 217 | 156 | 192 | 231 | 251 | 242 | 243 | 254 | 270 | 287 | 2815 | [15]
Darwin | Australia | 176.7 | 162.4 | 210.8 | 261 | 297.6 | 297 | 313.1 | 319.3 | 297 | 291.4 | 252 | 213.9 | 3092.2 | ?
Delhi | India | 214.6 | 216.1 | 239.1 | 261 | 263.1 | 196.5 | 165.9 | 177 | 219 | 269.3 | 247.2 | 215.8 | 2684.6 | [79]
Denver | United States | 215.3 | 211.1 | 255.6 | 276.2 | 290 | 315.3 | 325 | 306.4 | 272.3 | 249.2 | 194.3 | 195.9 | 3106.6 | ?
Detroit | United States | 119.9 | 138.3 | 184.9 | 217 | 275.9 | 301.8 | 317 | 283.5 | 227.6 | 176 | 106.3 | 87.7 | 2435.9 | ?
Dhaka | Bangladesh | 279 | 226 | 217 | 180 | 155 | 90 | 62 | 62 | 90 | 186 | 240 | 279 | 2066 | ?
Dikson | Russia | 0 | 22.6 | 127.1 | 237 | 189.1 | 141 | 223.2 | 139.5 | 60 | 24.8 | 0 | 0 | 1164.3 | [90]
Djibouti City | Djibouti | 254 | 249 | 279 | 279 | 310 | 237 | 236 | 276 | 282 | 310 | 291 | 276 | 3279 | [25]
Dodoma | Tanzania | 241.8 | 217.5 | 241.8 | 240 | 279 | 294 | 341 | 297.6 | 300 | 310 | 303 | 269.7 | 3335.4 | [43]
Dolisie | Congo | 153 | 164 | 159 | 152 | 151 | 136 | 119 | 105 | 91 | 116 | 128 | 133 | 1607 | [2]
Douala | Cameroon | 184 | 179 | 170 | 174 | 169 | 107 | 55 | 46 | 79 | 120 | 160 | 175 | 1618 | [2]
Dubai | UAE | 254.2 | 229.6 | 254.2 | 294 | 344.1 | 342 | 322.4 | 316.2 | 309 | 303.8 | 285 | 254.2 | 3508.7 | ?
Dublin | Ireland | 59 | 75 | 109 | 160 | 195 | 179 | 164 | 157 | 129 | 103 | 71 | 53 | 1453 | [123]
Dunedin | New Zealand | 179.6 | 158 | 146.1 | 125.9 | 108.4 | 95.3 | 110.6 | 122.2 | 136.8 | 165.5 | 166.9 | 168.3 | 1683.7 | [179]
Durban | South Africa | 184 | 178.8 | 201.6 | 206.4 | 223.6 | 224.9 | 230.4 | 217 | 173.3 | 169.4 | 166.1 | 189.9 | 2365.4 | [51]
Edinburgh | United Kingdom | 54 | 79 | 115 | 145 | 188 | 166 | 172 | 162 | 129 | 101 | 71 | 46 | 1427 | [152]
Edmonton | Canada | 100.8 | 121.7 | 176.3 | 244.2 | 279.9 | 285.9 | 307.5 | 282.3 | 192.7 | 170.8 | 98.4 | 84.5 | 2344.8 | [156]
El Paso | United States | 254.5 | 263 | 326 | 348 | 384.7 | 384.1 | 360.2 | 335.4 | 304.1 | 298.6 | 257.6 | 246.3 | 3762.5 | ?
Entebbe | Uganda | 233 | 204 | 205 | 180 | 192 | 186 | 198 | 195 | 195 | 201 | 198 | 211 | 2398 | [15]
Faro | Portugal | 172 | 165 | 234 | 251 | 314 | 332 | 368 | 352 | 273 | 226 | 182 | 167 | 3036 | [135]
Ferké | Ivory Coast | 279 | 249 | 253 | 229 | 251 | 221 | 183 | 151 | 173 | 245 | 261 | 262 | 2757 | [2]
Fianarantsoa | Madagascar | 191.1 | 171 | 175.4 | 184.8 | 186 | 165.9 | 163.5 | 191.1 | 220.5 | 230.4 | 208 | 190.1 | 2277.8 | [61]
Fortaleza | Brazil | 225.2 | 182.3 | 150 | 157.1 | 208.4 | 238.7 | 268.3 | 295.9 | 281.6 | 291.4 | 282.2 | 262.3 | 2843.4 | ?
Frankfurt | Germany | 50 | 80 | 121 | 178 | 211 | 219 | 233 | 219 | 156 | 103 | 51 | 41 | 1662 | [119]
Fresno | United States | 141.5 | 196.9 | 286.2 | 335.5 | 398.9 | 412.2 | 428.2 | 399.6 | 345.9 | 302.3 | 189.9 | 127.1 | 3564.2 | ?
Fuzhou | China | 101.6 | 79.2 | 89.1 | 111 | 114.4 | 141.9 | 225.6 | 199.2 | 153.7 | 144.2 | 120.3 | 126.9 | 1607.1 | ?
Gabes | Tunisia | 220.1 | 215.6 | 251.1 | 267 | 313.1 | 321 | 372 | 353.4 | 279 | 260.4 | 228 | 210.8 | 3291.5 | [32]
Gaborone | Botswana | 280.6 | 261.5 | 264.4 | 260.5 | 284.2 | 260 | 292.4 | 313.6 | 308.4 | 295.4 | 265.5 | 285.2 | 3371 | [52]
Gagnoa | Ivory Coast | 183 | 180 | 196 | 188 | 181 | 118 | 97 | 80 | 110 | 155 | 171 | 164 | 1823 | [2]
Garissa | Kenya | 251.1 | 235.2 | 263.5 | 273 | 282.1 | 255 | 254.2 | 257.3 | 270 | 279 | 252 | 241.8 | 3114.2 | [41]
Garoua | Cameroon | 275 | 252.6 | 260.1 | 245.4 | 256.7 | 224.4 | 194 | 187.2 | 204.5 | 261.5 | 279.2 | 286.5 | 2927.1 | [10]
Georgetown | Guyana | 201 | 208.6 | 219.7 | 197.9 | 178.8 | 156.7 | 201.6 | 233.7 | 229.8 | 235.3 | 210.9 | 186.6 | 2460.6 | ?
Ghanzi | Botswana | 295 | 280 | 313 | 282 | 316 | 306 | 316 | 319 | 305 | 279 | 300 | 267 | 3579 | [15]
Gothenburg | Sweden | 48 | 75 | 151 | 201 | 274 | 286 | 285 | 245 | 178 | 108 | 47 | 29 | 1922 | [147]
Guangzhou | China | 118.5 | 71.6 | 62.4 | 65.1 | 104 | 140.2 | 202 | 173.5 | 170.2 | 181.8 | 172.7 | 166 | 1628 | ?
Guayaquil | Ecuador | 102.3 | 101.7 | 139.5 | 150 | 167.4 | 123 | 127.1 | 133.3 | 144 | 136.4 | 120 | 136.4 | 1581.1 | ?
Hanoi | Vietnam | 74 | 47 | 47 | 90 | 183 | 172 | 195 | 174 | 176 | 167 | 137 | 124 | 1585 | [103]
Harare | Zimbabwe | 217 | 190.4 | 232.5 | 249 | 269.7 | 264 | 279 | 300.7 | 294 | 285.2 | 231 | 198.4 | 3010.9 | [56]
Hat Yai | Thailand | 182.9 | 166.7 | 186 | 144 | 114.7 | 111 | 114.7 | 114.7 | 108 | 111.6 | 105 | 108.5 | 1567.8 | [101]
Helsinki | Finland | 38 | 70 | 138 | 194 | 284 | 297 | 291 | 238 | 150 | 93 | 36 | 29 | 1858 | [115]
Ho Chi Minh City | Vietnam | 245 | 246 | 272 | 239 | 195 | 171 | 180 | 172 | 162 | 182 | 200 | 226 | 2489 | [103]
Hobart | Australia | 248 | 206.2 | 198.4 | 159 | 130.2 | 117 | 136.4 | 155 | 177 | 201.5 | 207 | 229.4 | 2165.1 | ?
Hong Kong | China | 143 | 94.2 | 90.8 | 101.7 | 140.4 | 146.1 | 212 | 188.9 | 172.3 | 193.9 | 180.1 | 172.2 | 1835.6 | [75]
Honiara | Solomon Islands | 186 | 155.4 | 198.4 | 192 | 210.8 | 198 | 186 | 204.6 | 192 | 226.3 | 216 | 164.3 | 2330
Honolulu | United States | 213.5 | 212.7 | 259.2 | 251.8 | 280.6 | 286.1 | 306.2 | 303.1 | 278.8 | 244 | 200.4 | 199.5 | 3035.9 | ?
Houston | United States | 143.4 | 155 | 192.5 | 209.8 | 249.2 | 281.3 | 293.9 | 270.5 | 236.5 | 228.8 | 168.3 | 148.7 | 2577.9 | ?
Hurghada | Egypt | 265.7 | 277.6 | 274.3 | 285.6 | 317.4 | 348 | 352.3 | 322.4 | 301.6 | 275.2 | 263.9 | 246.7 | 3530.7 | ?
Indianapolis | United States | 132.1 | 145.7 | 178.3 | 214.8 | 264.7 | 287.2 | 295.2 | 273.7 | 232.6 | 196.6 | 117.1 | 102.4 | 2440.4 | ?
Iqaluit | Canada | 32.4 | 94 | 172.2 | 216.5 | 180.5 | 200.2 | 236.8 | 156.8 | 87.9 | 51.4 | 35.6 | 12.6 | 1476.8 | [157]
Irkutsk | Russia | 93 | 149 | 207 | 223 | 266 | 264 | 243 | 218 | 182 | 152 | 93 | 62 | 2142 | [91]
Istanbul | Turkey | 71 | 88 | 133 | 180 | 251 | 300 | 322 | 295 | 243 | 164 | 102 | 68 | 2218 | [150]
Jacksonville | United States | 189.4 | 193.8 | 257.9 | 286.4 | 303.9 | 283.6 | 282 | 262.4 | 228.2 | 214.6 | 193.9 | 183.6 | 2879.7 | ?
Jakarta | Indonesia | 189.1 | 180.8 | 238.7 | 255 | 260.4 | 255 | 282.1 | 294.5 | 300.7 | 279 | 231 | 217 | 2983.3 | [83]
Johannesburg | South Africa | 250.1 | 224.8 | 238.8 | 236.9 | 276 | 266.9 | 283.9 | 284.1 | 280.8 | 269.5 | 248.7 | 263.9 | 3124.4 | [48]
Jos | Nigeria | 307 | 274 | 260 | 220 | 208 | 201 | 151 | 127 | 171 | 242 | 294 | 313 | 2768 | [15]
Juba | South Sudan | 288.3 | 237.8 | 220.1 | 195 | 241.8 | 225 | 182.9 | 213.9 | 225 | 235.6 | 237 | 251.1 | 2753.5 | [36]
Kabul | Afghanistan | 177.2 | 178.6 | 204.5 | 232.5 | 310.3 | 353.4 | 356.8 | 339.7 | 303.9 | 282.6 | 253.2 | 182.4 | 3175.1 | ?
Kampala | Uganda | 238 | 193 | 189 | 195 | 187 | 189 | 139 | 168 | 157 | 172 | 178 | 205 | 2210 | [42]
Kandi | Benin | 279 | 257.6 | 260.4 | 255 | 272.8 | 252 | 223.2 | 195.3 | 213 | 275.9 | 282 | 279 | 3045.2 | [5]
Kankan | Guinea | 262 | 236 | 249 | 220 | 234 | 216 | 169 | 159 | 191 | 221 | 241 | 260 | 2658 | [71]
Kano | Nigeria | 275 | 255 | 267 | 252 | 273 | 261 | 233 | 186 | 237 | 295 | 297 | 285 | 3114 | [15]
Kansas City | United States | 183.7 | 174.3 | 223.9 | 257.8 | 285 | 305.5 | 329.3 | 293.9 | 240.5 | 213.6 | 155.3 | 147.1 | 2809.9 | ?
Kaohsiung | Taiwan | 174.7 | 165.8 | 187 | 189.1 | 198.5 | 199.9 | 221.4 | 193.7 | 175.7 | 182.4 | 162.2 | 161.8 | 2212.2 | ?
Karachi | Pakistan | 270.7 | 249.4 | 271.6 | 277.4 | 299.1 | 231.8 | 155 | 147.7 | 218.8 | 283.5 | 273.3 | 272 | 2950.3 | ?
Karonga | Malawi | 176.7 | 170.8 | 207.7 | 222 | 254.2 | 264 | 285.2 | 306.9 | 306 | 319.3 | 273 | 213.9 | 2999.7 | [58]
Keetmanshoop | Namibia | 353 | 300 | 312 | 306 | 304 | 287 | 305 | 323 | 319 | 343 | 348 | 348 | 3870 | ?
Khartoum | Sudan | 341 | 311 | 310 | 330 | 300 | 300 | 279 | 279 | 300 | 310 | 330 | 341 | 3737.1 | [16]
Kiev | Ukraine | 31 | 57 | 124 | 180 | 279 | 270 | 310 | 248 | 210 | 155 | 60 | 31 | 1955 | [151]
Kinshasa | Democratic Republic of the Congo | 124 | 140 | 155 | 150 | 155 | 120 | 124 | 155 | 120 | 155 | 150 | 124 | 1672 | [45]
Kolkata | India | 203.9 | 201.2 | 225.8 | 235.4 | 227.1 | 123.1 | 93.1 | 104.9 | 116.2 | 182.6 | 190.8 | 203.4 | 2107.5 | [80]
Kumasi | Ghana | 186.6 | 187.2 | 205.4 | 204 | 204.7 | 146.3 | 101.2 | 77 | 106.2 | 161.4 | 193.8 | 178 | 1951.8 | [9]
La Ceiba | Honduras | 170.5 | 192.1 | 217 | 234 | 213.9 | 192 | 201.5 | 217 | 174 | 151.9 | 144 | 151.9 | 2259.8 | [163]
La Paz | Mexico | 200 | 234 | 271 | 292 | 332 | 322 | 287 | 258 | 257 | 272 | 233 | 190 | 3148 | [164]
La Paz | Bolivia | 182.9 | 152.6 | 148.8 | 165 | 222.7 | 240 | 235.6 | 217 | 189 | 179.8 | 171 | 186 | 2288.9 | ?
La Plata | Argentina | 251.1 | 229.6 | 210.8 | 186 | 155 | 120 | 127.1 | 161.2 | 171 | 207.7 | 225 | 238.7 | 2283.2 | [174]
Lagos | Nigeria | 164.3 | 169.5 | 173.6 | 180 | 176.7 | 114 | 99.2 | 108.5 | 114 | 167.4 | 186 | 192.2 | 1845.4 | [14]
Lahore | Pakistan | 218.8 | 215 | 245.8 | 276.6 | 308.3 | 269 | 227.5 | 234.9 | 265.6 | 290 | 259.6 | 222.9 | 3034 | ?
Las Vegas | United States | 245.2 | 246.7 | 314.6 | 346.1 | 388.1 | 401.7 | 390.9 | 368.5 | 337.1 | 304.4 | 246 | 236 | 3825.3 | ?
Lhasa | China | 250.9 | 226.7 | 246.1 | 248.9 | 276.6 | 257.3 | 227.4 | 219.6 | 229 | 281.7 | 267.4 | 258.6 | 2990.2 | [76]
Libreville | Gabon | 175.2 | 176.8 | 176.9 | 176.8 | 159.5 | 130.6 | 119.2 | 90.4 | 95.9 | 112.9 | 134.6 | 167.8 | 1716.6 | [12]
Lima | Peru | 179.1 | 169 | 139.2 | 184 | 116.4 | 50.6 | 28.6 | 32.3 | 37.3 | 65.3 | 89 | 139.2 | 1230 | ?
Lisbon | Portugal | 143 | 157 | 208 | 234 | 291 | 303 | 353 | 344 | 261 | 214 | 156 | 143 | 2806 | [136]
Livingstone | Zambia | 213.9 | 196 | 251.1 | 273 | 303.8 | 288 | 310 | 319.3 | 297 | 279 | 228 | 207.7 | 3166.8 | [55]
Ljubljana | Slovenia | 71 | 114 | 149 | 178 | 235 | 246 | 293 | 264 | 183 | 120 | 66 | 56 | 1974
Lodwar | Kenya | 319 | 280 | 282 | 279 | 307 | 297 | 279 | 310 | 321 | 316 | 282 | 310 | 3582 | [24]
Lomé | Togo | 217.5 | 214 | 227.9 | 201.9 | 208.6 | 146 | 141.6 | 148.8 | 152.5 | 205.5 | 234 | 235.6 | 2333.9 | [6]
London | United Kingdom | 62 | 78 | 115 | 169 | 199 | 204 | 212 | 205 | 149 | 117 | 73 | 52 | 1633 | [153]
Los Angeles | United States | 225.3 | 222.5 | 267 | 303.5 | 276.2 | 275.8 | 364.1 | 349.5 | 278.5 | 255.1 | 217.3 | 219.4 | 3254.2 | ?
Louisville | United States | 140.5 | 148.9 | 188.6 | 221.1 | 263.4 | 288.9 | 293.6 | 272.6 | 234.3 | 208.5 | 135.7 | 118.3 | 2514.4 | ?
Luanda | Angola | 219 | 208 | 213 | 199 | 233 | 223 | 175 | 150 | 145 | 164 | 199 | 212 | 2341 | [15]
Lubumbashi | Democratic Republic of the Congo | 129 | 120 | 174 | 234 | 291 | 295 | 315 | 318 | 294 | 282 | 194 | 132 | 2778 | [15]
Lusaka | Zambia | 176.7 | 168 | 220.1 | 246 | 275.9 | 270 | 294.5 | 303.8 | 291 | 272.8 | 234 | 182.9 | 2935.7 | [54]
Luxembourg City | Luxembourg | 43 | 82 | 118 | 165 | 208 | 210 | 232.5 | 208 | 159 | 108.5 | 57 | 43 | 1634 | ?
Lyon | France | 74 | 101 | 170 | 191 | 221 | 254 | 283 | 253 | 195 | 130 | 76 | 54 | 2002 | [116]
Macau | China | 127.4 | 79.4 | 71.5 | 85.3 | 136.4 | 155.3 | 223.2 | 195.4 | 176.5 | 192.3 | 172.2 | 159.1 | 1773.9 | [77]
Madrid | Spain | 148 | 157 | 214 | 231 | 272 | 310 | 359 | 335 | 261 | 198 | 157 | 124 | 2769 | [143]
Mahajanga | Madagascar | 209 | 184.9 | 244.8 | 269.9 | 294.9 | 282.9 | 291.5 | 303.1 | 307 | 319.7 | 288.2 | 227.3 | 3223.2 | [65]
Makurdi | Nigeria | 236 | 226 | 223 | 216 | 223 | 177 | 143 | 118 | 144 | 198 | 228 | 248 | 2380 | [15]
Malabo | Equatorial Guinea | 148.8 | 152.5 | 108.5 | 120 | 117.8 | 69 | 46.5 | 58.9 | 48 | 68.2 | 99 | 139.5 | 1176.7 | [74]
Managua | Nicaragua | 263.5 | 254.2 | 291.4 | 276 | 229.4 | 186 | 151.9 | 195.3 | 210 | 223.2 | 231 | 248 | 2759.9 | [168]
Manaus | Brazil | 114.3 | 87.7 | 98.5 | 111.9 | 148.6 | 184.8 | 214.2 | 225 | 200.5 | 171.2 | 140.9 | 130.9 | 1828.5 | ?
Mango | Togo | 285 | 254 | 270 | 241 | 261 | 219 | 168 | 131 | 161 | 273 | 284 | 279 | 2826 | [2]
Manila | Philippines | 176.7 | 197.8 | 225.8 | 258 | 222.7 | 162 | 132.8 | 132.8 | 132 | 157.6 | 153 | 151.9 | 2103.1 | ?
Maputo | Mozambique | 248 | 226 | 248 | 240 | 248 | 240 | 248 | 248 | 248 | 217 | 210 | 217 | 2838 | [66]
Maracaibo | Venezuela | 300 | 279 | 286 | 257 | 243 | 253 | 301 | 279 | 272.5 | 283 | 258 | 273 | 3284 | ?
Marrakech | Morocco | 220.1 | 211.8 | 248 | 255 | 288.3 | 315 | 334.8 | 316.2 | 264 | 244.9 | 213 | 220.1 | 3131.2 | [34]
Marsa Alam | Egypt | 279 | 283 | 310 | 330 | 372 | 390 | 403 | 372 | 330 | 310 | 300 | 279 | 3958 | ?
Marseille | France | 150 | 156 | 215 | 245 | 293 | 326 | 366 | 327 | 254 | 205 | 156 | 143 | 2836 | [117]
Maun | Botswana | 245 | 207 | 257 | 282 | 310 | 300 | 313 | 332 | 315 | 291 | 264 | 214 | 3330 | [15]
Medellín | Colombia | 175.5 | 149 | 154.2 | 127.9 | 138.9 | 173 | 203.2 | 191.6 | 153.4 | 132.9 | 136.4 | 156.2 | 1892.2 | [177]
Mekelle | Ethiopia | 294.2 | 276.7 | 279.9 | 277.2 | 303.2 | 230.1 | 165.5 | 166.5 | 248.7 | 291.1 | 292.8 | 303.5 | 3129.4 | [44]
Melbourne | Australia | 266.6 | 228.8 | 223.2 | 186 | 142.6 | 120 | 136.4 | 164.3 | 183 | 223.2 | 225 | 263.5 | 2362.6 | ?
Memphis | United States | 166.6 | 173.8 | 215.3 | 254.6 | 301.5 | 320.6 | 326.9 | 307 | 251.2 | 245.9 | 173 | 151.9 | 2888.3 | ?
Mendoza | Argentina | 297.6 | 257.6 | 235.6 | 219 | 195.3 | 168 | 182.9 | 229.4 | 225 | 282.1 | 294 | 285.2 | 2871.7 | ?
Mexico City | Mexico | 240 | 234 | 268 | 232 | 225 | 183 | 176 | 176 | 157 | 194 | 232 | 236 | 2555 | [165]
Miami | United States | 219.8 | 216.9 | 277.2 | 293.8 | 301.3 | 288.7 | 308.7 | 288.3 | 262.2 | 260.2 | 220.8 | 216.1 | 3154 | ?
Milan | Italy | 59 | 96 | 152 | 177 | 211 | 243 | 285 | 251 | 186 | 130 | 66 | 59 | 1915 | [125]
Milwaukee | United States | 140.2 | 151.5 | 185.4 | 213.5 | 275.5 | 304.5 | 321.1 | 281.2 | 215.1 | 178 | 112.8 | 104.8 | 2483.6 | ?
Minneapolis | United States | 156.7 | 178.3 | 217.5 | 242.1 | 295.2 | 321.9 | 350.5 | 307.2 | 233.2 | 181 | 112.8 | 114.3 | 2710.7 | ?
Minsk | Belarus | 34 | 72 | 133 | 185 | 270 | 267 | 271 | 251 | 154 | 103 | 39 | 28 | 1807 | [105]
Mogadishu | Somalia | 268 | 251 | 282 | 260 | 273 | 218 | 226 | 253 | 265 | 267 | 261 | 259 | 3082 | [15]
Mombasa | Kenya | 269.7 | 257.1 | 269.7 | 225 | 204.6 | 207 | 210.8 | 244.9 | 246 | 272.8 | 264 | 260.4 | 2932 | [39]
Monaco | Monaco | 149.8 | 158.9 | 185.5 | 210 | 248.1 | 281.1 | 329.3 | 296.7 | 224.7 | 199 | 155.2 | 136.5 | 2575 | ?
Monterrey | Mexico | 142 | 154 | 195 | 193 | 192 | 206 | 249 | 242 | 200 | 170 | 163 | 133 | 2239 | [166]
Montevideo | Uruguay | 294.9 | 230.6 | 222.8 | 179.6 | 164.2 | 129.7 | 139.7 | 164.4 | 182.3 | 239 | 248.9 | 285.3 | 2481.4 | ?
Montreal | Canada | 101 | 128 | 164 | 178 | 229 | 240 | 272 | 246 | 182 | 144 | 84 | 84 | 2051 | [158]
Moscow | Russia | 37 | 65 | 142 | 213 | 274 | 299 | 323 | 242 | 171 | 88 | 33 | 14 | 1901 | [139]
Mumbai | India | 269.5 | 257.6 | 274.3 | 283.7 | 296.2 | 148.6 | 73.4 | 75.9 | 165.1 | 240.2 | 245.8 | 253.2 | 2583.5 | [81]
Muscat | Oman | 268.6 | 244.8 | 278.3 | 292.5 | 347.4 | 325.7 | 277.7 | 278.6 | 303.9 | 316.9 | 291.9 | 267 | 3493.3 | [89]
Mzuzu | Malawi | 145.7 | 142.1 | 164.3 | 171 | 217 | 219 | 238.5 | 275.9 | 288 | 300.7 | 252 | 176.7 | 2590.9 | [60]
Nairobi | Kenya | 288.3 | 266 | 266.6 | 204 | 189.1 | 159 | 130.2 | 127.1 | 180 | 226.3 | 198 | 257.3 | 2491.9 | [40]
Nakhon Ratchasima | Thailand | 226.3 | 211.9 | 201.5 | 186 | 155 | 114 | 117.8 | 117.8 | 108 | 145.7 | 186 | 226.3 | 1996.3 | [101]
Nanjing | China | 124.7 | 120.3 | 144.7 | 169.2 | 194.2 | 162.8 | 196.7 | 201.6 | 164 | 164.2 | 147.4 | 137.1 | 1926.9 | [77]
Naples | Italy | 115 | 128 | 158 | 189 | 245 | 279 | 313 | 295 | 234 | 189 | 126 | 105 | 2375 | [126]
Nashville | United States | 139.6 | 145.2 | 191.3 | 231.5 | 261.8 | 277.7 | 279 | 262.1 | 226.4 | 216.8 | 148.1 | 130.6 | 2510.1 | ?
N'Djamena | Chad | 297.6 | 277.2 | 282.1 | 273 | 285.2 | 258 | 213.9 | 201.5 | 228 | 285.2 | 300 | 303.8 | 3205.5 | [21]
Ndola | Zambia | 151.9 | 142.8 | 192.2 | 243 | 279 | 276 | 297.6 | 297.6 | 279 | 269.7 | 207 | 158.1 | 2793.9 | [53]
New Orleans | United States | 153 | 161.5 | 219.4 | 251.9 | 278.9 | 274.3 | 257.1 | 251.9 | 228.7 | 242.6 | 171.8 | 157.8 | 2648.9 | ?
New York City | United States | 162.7 | 163.1 | 212.5 | 225.6 | 256.6 | 257.3 | 268.2 | 268.2 | 219.3 | 211.2 | 151 | 139 | 2534.7 | ?
N'Gaoundéré | Cameroon | 286.4 | 258.7 | 235.4 | 195.5 | 195.4 | 165.7 | 128 | 127.8 | 139 | 184 | 264.1 | 291.4 | 2471.4 | [11]
Niamey | Niger | 297.6 | 263.2 | 269.7 | 252 | 279 | 267 | 257.3 | 235.6 | 235.6 | 282.6 | 282 | 279 | 3203.2 | [20]
Nicosia | Cyprus | 182.9 | 200.1 | 238.7 | 267 | 331.7 | 369 | 387.5 | 365.8 | 312 | 275.9 | 213 | 170.5 | 3314.1 | [111]
Ningbo | China | 123.7 | 108.4 | 121.7 | 142.4 | 156.7 | 147.8 | 243.8 | 238 | 171.5 | 166.5 | 143.4 | 146.1 | 1910 | ?
Niš | Serbia | 65 | 93 | 148 | 171 | 221 | 251 | 287 | 274 | 202 | 151 | 86 | 49 | 1998 | [142]
Nome | United States | 62.2 | 140.1 | 205 | 245.3 | 290.3 | 275.3 | 250.3 | 178.1 | 153.6 | 116.7 | 66.4 | 53 | 2036.3 | ?
Nouadhibou | Mauritania | 271 | 248 | 300 | 295 | 315 | 303 | 275 | 281 | 261 | 260 | 257 | 264 | 3332 | [2]
Nouakchott | Mauritania | 267 | 250 | 302 | 311 | 320 | 284 | 271 | 265 | 266 | 263 | 268 | 267 | 3333 | [2]
Odienné | Ivory Coast | 242 | 220.2 | 217.3 | 214.7 | 248.8 | 221.8 | 183.5 | 174.5 | 185.4 | 235.8 | 252 | 242.6 | 2638.6 | [3]
Oklahoma City | United States | 200.8 | 189.7 | 244.2 | 271.3 | 295.2 | 326.1 | 356.6 | 329.3 | 263.7 | 245.1 | 186.5 | 180.9 | 3089.4 | ?
Omaha | United States | 167.8 | 157.6 | 206.4 | 230.1 | 277.1 | 314 | 332.5 | 296.3 | 245.5 | 217.5 | 148 | 134.1 | 2726.9 | ?
Omsk | Russia | 68 | 125 | 184 | 235 | 284 | 319 | 321 | 248 | 180 | 105 | 71 | 61 | 2201 | [92]
Oslo | Norway | 40 | 76 | 126 | 178 | 220 | 250 | 246 | 216 | 144 | 86 | 51 | 35 | 1668 | [132]
Ouagadougou | Burkina Faso | 287 | 263 | 264 | 256 | 277 | 264 | 240 | 223 | 217 | 273 | 288 | 284 | 3136 | [18]
Ouahigouya | Burkina Faso | 291 | 267 | 280 | 268 | 284 | 272 | 258 | 253 | 261 | 280 | 288 | 280 | 3282 | [19]
Ouarzazate | Morocco | 251.8 | 244.9 | 297.2 | 315.2 | 332.7 | 335 | 317.7 | 293.2 | 266.4 | 271.3 | 242.9 | 248.1 | 3416.4 | [35]
Panama City | Panama | 228.9 | 245.2 | 183.9 | 173.1 | 108.5 | 116.3 | 106.1 | 118.1 | 99.2 | 103.9 | 139.8 | 120.5 | 1743.5 | [169]
Parakou | Benin | 261 | 243 | 252 | 230 | 239 | 193 | 133 | 104 | 129 | 217 | 252 | 248 | 2501 | [2]
Paris | France | 63 | 79 | 129 | 166 | 194 | 202 | 212 | 212 | 168 | 118 | 68 | 51 | 1662 | [118]
Perth | Australia | 356.5 | 314.9 | 295.5 | 246 | 211.7 | 180.6 | 188.4 | 219.8 | 232.4 | 299.8 | 320.4 | 359.4 | 3229.5 | ?
Petropavlovsk | Russia | 105.4 | 115.8 | 176.7 | 192 | 192.2 | 192 | 170.5 | 176.7 | 177 | 158.1 | 123 | 93 | 1872.4 | [93]
Philadelphia | United States | 155.7 | 154.7 | 202.8 | 217 | 245.1 | 271.2 | 275.6 | 260.1 | 219.3 | 204.5 | 154.7 | 137.7 | 2498.4 | ?
Phoenix | United States | 256 | 257.2 | 318.4 | 353.6 | 401 | 407.8 | 378.5 | 360.8 | 328.6 | 308.9 | 256 | 244.8 | 3871.6 | ?
Pittsburgh | United States | 93.9 | 108.5 | 155.4 | 182.8 | 217.4 | 242.2 | 254.9 | 228.4 | 196.7 | 167.3 | 99.4 | 74.4 | 2021.3 | ?
Podgorica | Montenegro | 123 | 126 | 170 | 194 | 251 | 276 | 340 | 314 | 252 | 201 | 126 | 109 | 2481
Pointe-Noire | Congo | 157 | 156 | 164 | 160 | 150 | 132 | 119 | 106 | 70 | 93 | 123 | 144 | 1574 | [2]
Port Moresby | Papua New Guinea | 182 | 158 | 184 | 200 | 211 | 200 | 203 | 222 | 213 | 231 | 243 | 216 | 2463
Port Sudan | Sudan | 214 | 230 | 282 | 312 | 338 | 309 | 307 | 298 | 300 | 307 | 249 | 236 | 3382 | [15]
Port-Gentil | Gabon | 150.4 | 160.8 | 154.5 | 151.5 | 147.8 | 156.3 | 163.1 | 135.3 | 125.7 | 116.1 | 115.1 | 147.2 | 1723.8 | [13]
Portland (OR) | United States | 85.6 | 116.4 | 191.1 | 221.1 | 276.1 | 290.2 | 331.9 | 298.1 | 235.7 | 151.7 | 79.3 | 63.7 | 2340.9 | ?
Porto | Portugal | 124 | 129 | 192 | 217 | 258 | 274 | 308 | 295 | 224 | 184 | 139 | 124 | 2468 | [137]
Porto Alegre | Brazil | 227.2 | 195.2 | 202.4 | 166 | 146.9 | 115.6 | 131.4 | 145.3 | 145.8 | 178 | 215.2 | 232.4 | 2101.4 | ?
Prague | Czech Republic | 50 | 72 | 125 | 168 | 214 | 218 | 226 | 212 | 161 | 121 | 54 | 47 | 1668 | [110]
Pretoria | South Africa | 261 | 235 | 254 | 246.6 | 283 | 271 | 289 | 296 | 284 | 275 | 254 | 272 | 3220 | [46]
Pyongyang | North Korea | 184 | 197 | 231 | 237 | 263 | 229 | 181 | 204 | 222 | 214 | 165 | 165 | 2492 | ?
Qingdao | China | 186 | 180.8 | 220.1 | 222 | 244.9 | 219 | 182.9 | 223.2 | 219 | 220.1 | 189 | 182.9 | 2489.9 | ?
Quito | Ecuador | 197 | 140 | 122 | 136 | 164 | 189 | 249 | 256 | 196 | 177 | 197 | 215 | 2238 | ?
Rabat | Morocco | 179.8 | 183.6 | 232.5 | 255 | 291.4 | 288 | 316.2 | 306.9 | 261 | 235.6 | 189 | 179.8 | 2918.8 | [33]
Raleigh | United States | 163.8 | 173.1 | 228.9 | 250.7 | 258.4 | 267.7 | 259.5 | 239.6 | 217.6 | 215.4 | 174 | 157.6 | 2606.3 | ?
Reykjavik | Iceland | 20 | 60 | 109 | 164 | 201 | 174 | 168 | 155 | 120 | 93 | 41 | 22 | 1326 | [122]
Richmond (VA) | United States | 172.5 | 179.7 | 233.3 | 261.6 | 288 | 306.4 | 301.4 | 278.9 | 237.9 | 222.8 | 183.5 | 163 | 2829 | ?
Riga | Latvia | 31 | 62 | 127 | 183 | 264 | 288 | 264 | 229 | 153 | 93 | 39 | 22 | 1754
Rio de Janeiro | Brazil | 211.9 | 201.3 | 206.4 | 181 | 186.3 | 175.1 | 188.6 | 184.8 | 146.2 | 152.1 | 168.5 | 179.6 | 2181.1 | ?
Riyadh | Saudi Arabia | 212.4 | 226.6 | 219.8 | 242.3 | 287.7 | 328.2 | 332.1 | 309.2 | 271.6 | 311.4 | 269.2 | 214.3 | 3224.8 | [97]
Rome | Italy | 121 | 133 | 167 | 201 | 264 | 285 | 332 | 298 | 237 | 195 | 129 | 112 | 2473 | [127]
Sacramento | United States | 145.5 | 201.3 | 278 | 329.6 | 406.3 | 419.5 | 440.2 | 406.9 | 347.8 | 296.7 | 194.9 | 141.1 | 3607.8 | ?
Saint-Pierre | Saint Pierre and Miquelon | 49.6 | 70.2 | 115.5 | 131.9 | 165.8 | 172.6 | 164.8 | 173.5 | 156.1 | 119 | 63 | 45.4 | 1427.3 | [171]
Salt Lake City | United States | 127.4 | 163.1 | 241.9 | 269.1 | 321.7 | 360.5 | 380.5 | 352.5 | 301.1 | 248.1 | 150.4 | 113.1 | 3029.4 | ?
Salta | Argentina | 164.3 | 134.4 | 105.4 | 117 | 136.4 | 120 | 173.6 | 195.3 | 162 | 182.9 | 171 | 164.3 | 1826.6 | ?
San Antonio | United States | 159.4 | 169.7 | 215.5 | 209.7 | 221.8 | 275.9 | 308.8 | 293.9 | 234.9 | 218 | 171.9 | 149.7 | 2629.2 | ?
San Diego | United States | 239.3 | 227.4 | 261 | 276.2 | 250.5 | 242.4 | 304.7 | 295 | 253.3 | 243.4 | 230.1 | 231.3 | 3054.6 | ?
San Francisco | United States | 185.9 | 207.7 | 269.1 | 309.3 | 325.1 | 311.4 | 313.3 | 287.4 | 271.4 | 247.1 | 173.4 | 160.6 | 3061.7 | ?
San Juan | Puerto Rico | 237.4 | 231.2 | 282 | 268.3 | 255.2 | 259.4 | 280.8 | 267.8 | 234.7 | 227.2 | 202.4 | 217.4 | 2963.8
San Salvador | El Salvador | 301 | 277 | 294 | 243 | 220 | 174 | 239 | 257 | 180 | 211 | 267 | 294 | 2957 | [170]
Santiago | Chile | 362.7 | 302.3 | 272.8 | 201 | 155 | 120 | 145.7 | 161.2 | 186 | 248 | 306 | 347.2 | 2807.9 | ?
São Paulo | Brazil | 170.6 | 162.2 | 167.1 | 165.8 | 182.3 | 172.6 | 187.1 | 175.3 | 152.6 | 153.9 | 163 | 150.8 | 2003.3 | ?
Sapporo | Japan | 92.5 | 104 | 146.6 | 176.5 | 198.4 | 187.8 | 164.9 | 171 | 160.5 | 152.3 | 100 | 85.9 | 1740.4 | [85]
Sarajevo | Bosnia and Herzegovina | 57 | 84 | 126 | 152 | 192 | 207 | 256 | 238 | 187 | 149 | 81 | 41 | 1769
Seattle | United States | 69.8 | 108.8 | 178.4 | 207.3 | 253.7 | 268.4 | 312 | 281.4 | 221.7 | 142.6 | 72.7 | 52.9 | 2169.7 | ?
Ségou | Mali | 292 | 276 | 292 | 263 | 274 | 266 | 254 | 223 | 242 | 283 | 287 | 287 | 3239 | [26]
Seoul | South Korea | 160.3 | 163.3 | 189 | 205 | 213 | 182 | 120 | 152.5 | 176.2 | 198.8 | 153.2 | 152.6 | 2066 | [99]
Seville | Spain | 183 | 189 | 224 | 238 | 293 | 317 | 354 | 328 | 244 | 217 | 181 | 154 | 2921 | [145]
Shanghai | China | 114.3 | 119.9 | 128.5 | 148.5 | 169.8 | 130.9 | 190.8 | 185.7 | 167.5 | 161.4 | 131.1 | 127.4 | 1775.8 | ?
Singapore | Singapore | 172.4 | 183.2 | 192.7 | 173.6 | 179.8 | 177.7 | 187.9 | 180.6 | 156.2 | 155.2 | 129.6 | 133.5 | 2022.4 | ?
Skopje | North Macedonia | 87 | 113 | 161 | 198 | 245 | 276 | 323 | 305 | 248 | 188 | 115 | 80 | 2339
Sochi | Russia | 96 | 107 | 146 | 162 | 220 | 258 | 279 | 282 | 225 | 195 | 120 | 87 | 2178 | [140]
Sofia | Bulgaria | 88 | 114 | 160 | 182 | 230 | 258 | 302 | 288 | 220 | 164 | 106 | 66 | 2177 | [107]
Sokoto | Nigeria | 279 | 269 | 282 | 255 | 279 | 282 | 229 | 208 | 243 | 307 | 297 | 288 | 3238 | [15]
Split | Croatia | 133 | 153 | 186 | 210 | 273 | 306 | 347 | 320 | 246 | 192 | 135 | 130 | 2631 | [109]
St. Louis | United States | 161.2 | 158.3 | 198.3 | 223.5 | 266.5 | 291.9 | 308.9 | 269.8 | 236.1 | 208.4 | 140.9 | 129.9 | 2593.7 | ?
Stanley | Falkland Islands | 198 | 161 | 169 | 115 | 77 | 57 | 69 | 90 | 128 | 189 | 200 | 198 | 1651 | ?
Stockholm | Sweden | 40 | 72 | 135 | 185 | 276 | 292 | 260 | 221 | 154 | 99 | 54 | 33 | 1821 | [148]
Suva | Fiji | 192.2 | 178 | 170.5 | 153 | 145.7 | 141 | 136.4 | 142.6 | 135 | 164.3 | 168 | 195.3 | 1922 | [178]
Sydney | Australia | 235.6 | 202.4 | 213.9 | 207 | 195.3 | 177 | 204.6 | 244.9 | 237 | 244.9 | 228 | 244.9 | 2635.5 | ?
Tabora | Tanzania | 216 | 218 | 219 | 227 | 283 | 303 | 310 | 297 | 312 | 301 | 240 | 217 | 3143 | [42]
Taichung | Taiwan | 176.6 | 140.6 | 149.9 | 137.8 | 158.7 | 160.1 | 199.6 | 178.7 | 175.8 | 203.7 | 179.4 | 182.3 | 2043.2 | ?
Taipei | Taiwan | 80.6 | 71.3 | 89.6 | 92.6 | 113.7 | 121.7 | 179 | 188.9 | 153.7 | 124 | 99.4 | 90.7 | 1405.2 | ?
Tallinn | Estonia | 25 | 56 | 129 | 203 | 293 | 286 | 307 | 241 | 152 | 87 | 29 | 19 | 1826
Tamale | Ghana | 265.6 | 235.7 | 249.6 | 229 | 248 | 212 | 171.5 | 139 | 161 | 260.9 | 283 | 263.5 | 2718.7 | [8]
Tamanrasset | Algeria | 297.6 | 275.5 | 322.4 | 327 | 328.6 | 306 | 356.5 | 331.7 | 288 | 310 | 285 | 272.8 | 3686 | [30]
Tampa | United States | 199.9 | 202.7 | 267.5 | 299.1 | 314.5 | 277.8 | 265.3 | 249.5 | 223 | 233.9 | 201.7 | 191.6 | 2926.5 | ?
Tashkent | Uzbekistan | 117.8 | 127.1 | 164.3 | 216 | 303.8 | 363 | 384.4 | 365.8 | 300 | 226.3 | 150 | 105.4 | 2823.9 | [102]
Tbilisi | Georgia | 99 | 102 | 142 | 171 | 213 | 249 | 256 | 248 | 206 | 164 | 103 | 93 | 2046
Tehran | Iran | 137.2 | 151.1 | 186 | 219.1 | 279.8 | 328.7 | 336.6 | 336.8 | 300.5 | 246.8 | 169.4 | 134.1 | 2826.1 | [84]
Tel Aviv | Israel | 192.2 | 200.1 | 235.6 | 270 | 328.6 | 357 | 368.9 | 356.5 | 300 | 279 | 234 | 189.1 | 3311 | ?
Thiès | Senegal | 267 | 260 | 325 | 332 | 324 | 276 | 226 | 188 | 221 | 267 | 271 | 257 | 3214 | [2]
Tianjin | China | 170.1 | 170.2 | 202.4 | 223.8 | 249 | 226.9 | 206.4 | 204.4 | 205.3 | 196.1 | 163 | 157.6 | 2375.2 | ?
Timbuktu | Mali | 263.9 | 249.6 | 269.9 | 254.6 | 275.3 | 234.7 | 248.6 | 255.3 | 248.9 | 273 | 274 | 258.7 | 3106.5 | [27]
Tirana | Albania | 124 | 125 | 165 | 191 | 263 | 298 | 354 | 327 | 264 | 218 | 127 | 88 | 2544
Toamasina | Madagascar | 224.7 | 198.2 | 191 | 196.9 | 192.1 | 162.5 | 162.8 | 184.6 | 209.7 | 232.7 | 236 | 219.2 | 2410.4 | [62]
Tokyo | Japan | 184.5 | 165.8 | 163.1 | 176.9 | 167.8 | 125.4 | 146.4 | 169 | 120.9 | 131 | 147.9 | 178 | 1876.7 | ?
Toliara | Madagascar | 305 | 285 | 296 | 302 | 306 | 277 | 291 | 298 | 307 | 324 | 313 | 306 | 3610 | [15]
Toronto | Canada | 85.9 | 111.3 | 161 | 180 | 227.7 | 259.6 | 279.6 | 245.6 | 194.4 | 154.3 | 88.9 | 78.1 | 2066.4 | [159]
Tórshavn | Faroe Islands | 14 | 36 | 71 | 106 | 124 | 125 | 111 | 98 | 80 | 49 | 20 | 6 | 840 | [114]
Tripoli | Libya | 206 | 214 | 237 | 250 | 315 | 312 | 376 | 352 | 271 | 244 | 212 | 198 | 3187 | [37]
Tromsø | Norway | 3 | 32 | 112 | 160 | 218 | 221 | 205 | 167 | 92 | 49 | 6 | 0 | 1265 | [133]
Tucson | United States | 259.9 | 258.2 | 320.7 | 357.2 | 400.8 | 396.9 | 342.7 | 335.6 | 316.4 | 307.4 | 264.4 | 245.8 | 3806 | ?
Tulsa | United States | 175.8 | 171.7 | 219.6 | 244.4 | 266.7 | 294.8 | 334.7 | 305.3 | 232.5 | 218.6 | 161.1 | 160.8 | 2786 | ?
Tunis | Tunisia | 145.7 | 165.3 | 198.4 | 225 | 282.1 | 309 | 356.5 | 328.6 | 258 | 217 | 174 | 148.8 | 2808.4 | [31]
Ulaanbaatar | Mongolia | 179.1 | 204.8 | 265.2 | 262.5 | 299.3 | 269 | 249.3 | 258.3 | 245.7 | 227.5 | 177.4 | 156.4 | 2791.5 | [88]
Upington | South Africa | 352.9 | 298.7 | 297.5 | 283.5 | 290.5 | 270.3 | 289.8 | 307.3 | 300.2 | 328.9 | 345.2 | 367 | 3731.8 | [50]
Ürümqi | China | 101.6 | 128.8 | 180.5 | 248 | 283.3 | 282.7 | 298.7 | 301 | 262.6 | 224.4 | 127.4 | 84.3 | 2523.3 | [78]
Ushuaia | Argentina | 180.2 | 150.4 | 124.9 | 92.7 | 78 | 50.3 | 35 | 58.3 | 87.6 | 113 | 140 | 170.8 | 1281.2 | ?
Valdivia | Chile | 257.3 | 228.8 | 204.6 | 123 | 68.2 | 45 | 65.1 | 89.9 | 111 | 127.1 | 189 | 207.7 | 1716.7 | ?
Valencia | Spain | 171 | 171 | 215 | 234 | 259 | 276 | 315 | 288 | 235 | 202 | 167 | 155 | 2696 | [146]
Valletta | Malta | 169 | 178 | 227 | 254 | 310 | 337 | 377 | 352 | 270 | 224 | 195 | 161 | 3054 | [129]
Vancouver | Canada | 60.1 | 91 | 134.8 | 185 | 222.5 | 226.9 | 289.8 | 277.1 | 212.8 | 120.7 | 60.4 | 56.5 | 1937.6 | [160]
Vienna | Austria | 66 | 106 | 128 | 183 | 239 | 228 | 260 | 251 | 168 | 139 | 66 | 51 | 1884 | [104]
Villahermosa | Mexico | 168 | 185 | 252 | 215 | 278 | 217 | 252 | 245 | 167 | 150 | 170 | 144 | 2443 | [167]
Vilnius | Lithuania | 32 | 57 | 121 | 179 | 252 | 246 | 260 | 237 | 154 | 95 | 35 | 23 | 1691 | [128]
Virginia Beach | United States | 171.5 | 175.2 | 229.3 | 252.8 | 271.7 | 280.1 | 278.3 | 260.4 | 231.4 | 208.3 | 175.7 | 160.4 | 2695.1 | ?
Vladivostok | Russia | 178 | 184 | 216 | 192 | 199 | 130 | 122 | 149 | 197 | 205 | 168 | 156 | 2096 | [94]
Warsaw | Poland | 43 | 59 | 115 | 150 | 211 | 237 | 226 | 214 | 153 | 99 | 39 | 25 | 1571 | [134]
Washington, DC | United States | 144.6 | 151.8 | 204 | 228.2 | 260.5 | 283.2 | 280.5 | 263.1 | 225 | 203.6 | 150.2 | 133 | 2527.7 | ?
Wau | South Sudan | 300.7 | 269.7 | 260.4 | 228 | 254.2 | 237 | 176.7 | 192.2 | 210 | 229.4 | 267 | 303.8 | 2929.1 | [36]
Wellington | New Zealand | 240.3 | 205 | 194.7 | 153.8 | 126 | 102.3 | 111.4 | 137.2 | 163.2 | 191.1 | 210.8 | 222.9 | 2058.7 | ?
Whitehorse | Canada | 43.8 | 105.5 | 163.2 | 238.5 | 251.1 | 266.7 | 247.6 | 226.5 | 132.7 | 84.9 | 39.8 | 26.8 | 1827.1 | [161]
Wichita | United States | 190.9 | 186.4 | 230.4 | 257.8 | 289.8 | 305 | 342.1 | 309.2 | 245.6 | 226.3 | 170.2 | 168.7 | 2922.4 | ?
Windhoek | Namibia | 288 | 254 | 282 | 273 | 310 | 309 | 326 | 341 | 321 | 319 | 297 | 285 | 3605 | ?
Winnipeg | Canada | 114.7 | 133.9 | 181.9 | 241.4 | 285.3 | 276.3 | 308.3 | 281.4 | 189 | 147.4 | 93.9 | 99.5 | 2352.9 | [162]
Wuhan | China | 101.9 | 97 | 121.8 | 152.8 | 181 | 170.9 | 220.2 | 226.4 | 175.8 | 151.9 | 139.3 | 126.5 | 1865.5 | ?
Xiamen | China | 133.3 | 88.3 | 89.6 | 105.6 | 132.6 | 163.8 | 234.6 | 211.6 | 178.9 | 188.4 | 163 | 163.5 | 1853.2 | ?
Yakutsk | Russia | 18.6 | 98 | 232.5 | 273 | 303.8 | 333 | 347.2 | 272.8 | 174 | 105.4 | 60 | 9.3 | 2227.6 | [95]
Yaoundé | Cameroon | 177 | 172 | 149 | 153 | 158 | 112 | 85 | 83 | 97 | 120 | 159 | 179 | 1644 | [2]
Yerevan | Armenia | 93 | 108 | 162 | 177 | 242 | 297 | 343 | 332 | 278 | 212 | 138 | 92 | 2474
Yuma | United States | 268.4 | 270.8 | 335.5 | 365.5 | 407.4 | 415.4 | 392.6 | 375.6 | 341.7 | 319.6 | 270.1 | 252.7 | 4015.3 | [172]
Zagreb | Croatia | 59 | 96 | 140 | 175 | 234 | 244 | 281 | 256 | 187 | 131 | 66 | 45 | 1913 | [108]
Zanzibar | Tanzania | 251 | 243 | 213 | 180 | 210 | 220 | 235 | 253 | 254 | 270 | 250 | 259 | 2838 | [42]
Zurich | Switzerland | 48 | 77 | 125 | 159 | 186 | 204 | 230 | 208 | 151 | 93 | 50 | 35 | 1566 | [149]
Source:
https://en.wikipedia.org/wiki/List_of_cities_by_sunshine_duration#Asia
used: 21.9.2020